Supplementary Data

This supplementary document reports only the data tables used in the study: the modified IEEE 32-bus feeder data, the practical 60-bus feeder data and the invited demand-response capacities of the six data centers.

1. IEEE 32-Bus Benchmark Feeder Data

The following tables provide the distributed-generator, branch, and node data of the modified IEEE 32-bus benchmark feeder used in the study.

Table S1. Distributed-generator data of the modified IEEE 32-bus feeder

| Generator | Node | P (kW) | Q (kVAr) |
| --- | --- | --- | --- |
| 1 | 24 | 600 | 500 |
| 2 | 19 | 480 | 340 |
| 3 | 3 | 570 | 500 |
| 4 | 16 | 510 | 440 |
| 5 | 27 | 400 | 320 |
| 6 | 30 | 490 | 450 |
| 7 | 10 | 800 | 600 |
| 8 | 14 | 420 | 380 |

Note. These distributed-generator entries correspond to the benchmark network reported in the manuscript.

Table S2. Branch data of the modified IEEE 32-bus feeder

| Branch | From node | To node | r (p.u.) | x (p.u.) |
| --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 0.493 | 0.2511 |
| 2 | 2 | 3 | 0.366 | 0.1864 |
| 3 | 3 | 4 | 0.3811 | 0.1941 |
| 4 | 4 | 5 | 0.819 | 0.707 |
| 5 | 5 | 6 | 0.1872 | 0.6188 |
| 6 | 6 | 7 | 0.7114 | 0.2351 |
| 7 | 7 | 8 | 1.03 | 0.74 |
| 8 | 8 | 9 | 1.044 | 0.74 |
| 9 | 9 | 10 | 0.1966 | 0.065 |
| 10 | 10 | 11 | 0.3744 | 0.1238 |
| 11 | 11 | 12 | 1.468 | 1.155 |
| 12 | 12 | 13 | 0.5416 | 0.7129 |
| 13 | 13 | 14 | 5.91 | 5.26 |
| 14 | 14 | 15 | 7.463 | 5.45 |
| 15 | 15 | 16 | 3.289 | 4.721 |
| 16 | 16 | 17 | 7.32 | 5.74 |
| 17 | 1 | 18 | 0.164 | 0.1565 |
| 18 | 18 | 19 | 1.5042 | 1.3554 |
| 19 | 19 | 20 | 0.4095 | 0.4784 |
| 20 | 20 | 21 | 0.7089 | 0.9373 |
| 21 | 2 | 22 | 4.512 | 3.083 |
| 22 | 22 | 23 | 0.898 | 0.7091 |
| 23 | 23 | 24 | 0.896 | 0.711 |
| 24 | 5 | 25 | 0.203 | 0.1034 |
| 25 | 25 | 26 | 0.2842 | 0.1447 |
| 26 | 26 | 27 | 1.059 | 0.9337 |
| 27 | 27 | 28 | 0.8042 | 0.7006 |
| 28 | 28 | 29 | 0.5075 | 0.2585 |
| 29 | 29 | 30 | 0.9744 | 0.963 |
| 30 | 30 | 31 | 0.3105 | 0.3619 |
| 31 | 31 | 32 | 0.341 | 0.5302 |

Note. The branch table reports the feeder topology and line impedances of the benchmark system.

Table S3. Node data of the modified IEEE 32-bus feeder

| Node | P load (kW) | Q load (kVAr) |
| --- | --- | --- |
| 1 | 100 | 60 |
| 2 | 90 | 40 |
| 3 | 120 | 80 |
| 4 | 60 | 130 |
| 5 | 0 | 0 |
| 6 | 100 | 100 |
| 7 | 200 | 100 |
| 8 | 60 | 50 |
| 9 | 0 | 0 |
| 10 | 45 | 30 |
| 11 | 60 | 35 |
| 12 | 60 | 35 |
| 13 | 120 | 80 |
| 14 | 60 | 10 |
| 15 | 60 | 20 |
| 16 | 60 | 20 |
| 17 | 90 | 40 |
| 18 | 0 | 0 |
| 19 | 90 | 40 |
| 20 | 90 | 40 |
| 21 | 90 | 40 |
| 22 | 90 | 50 |
| 23 | 220 | 200 |
| 24 | 420 | 200 |
| 25 | 60 | 25 |
| 26 | 60 | 25 |
| 27 | 60 | 20 |
| 28 | 120 | 10 |
| 29 | 200 | 600 |
| 30 | 350 | 70 |
| 31 | 210 | 100 |
| 32 | 60 | 40 |

Note. The node table reports the active and reactive load data of the benchmark system.

2. Practical 60-Bus Feeder Data

The following tables provide the distributed-generator, node, and branch data of the practical 60-bus feeder used in the study.

Table S4. Distributed-generator data of the practical 60-bus feeder

| Generator | Node | P (kW) | Q (kVAr) |
| --- | --- | --- | --- |
| 1 | 1 | 1000 | 1000 |
| 2 | 3 | 230 | 230 |
| 3 | 5 | 210 | 210 |
| 4 | 8 | 200 | 200 |
| 5 | 15 | 220 | 220 |
| 6 | 25 | 190 | 190 |
| 7 | 27 | 220 | 220 |
| 8 | 32 | 200 | 200 |
| 9 | 34 | 210 | 210 |
| 10 | 38 | 190 | 190 |
| 11 | 39 | 230 | 230 |
| 12 | 40 | 200 | 200 |
| 13 | 41 | 210 | 210 |
| 14 | 46 | 230 | 230 |
| 15 | 47 | 190 | 190 |
| 16 | 48 | 600 | 600 |
| 17 | 49 | 540 | 540 |
| 18 | 50 | 220 | 220 |
| 19 | 52 | 200 | 200 |

Note. These distributed-generator entries correspond to the practical network reported in the manuscript.

Table S5. Node data of the practical 60-bus feeder

| Node | P load (kW) | Q load (kVAr) |
| --- | --- | --- |
| 1 | 0 | 0 |
| 2 | 0 | 0 |
| 3 | 185.9 | 64.8 |
| 4 | 47.4 | 19.9 |
| 5 | 173.9 | 54.1 |
| 6 | 0 | 0 |
| 7 | 0 | 0 |
| 8 | 90.6 | 34.8 |
| 9 | 0 | 0 |
| 10 | 0 | 0 |
| 11 | 0 | 0 |
| 12 | 0 | 0 |
| 13 | 0 | 0 |
| 14 | 47.4 | 19.7 |
| 15 | 83.5 | 35.8 |
| 16 | 0 | 0 |
| 17 | 0 | 0 |
| 18 | 0 | 0 |
| 19 | 0 | 0 |
| 20 | 0 | 0 |
| 21 | 0 | 0 |
| 22 | 0 | 0 |
| 23 | 0 | 0 |
| 24 | 8.1 | 4.2 |
| 25 | 43.3 | 12.3 |
| 26 | 8.1 | 4.3 |
| 27 | 9.9 | 0.4 |
| 28 | 0 | 0 |
| 29 | 0 | 0 |
| 30 | 19.4 | 9.2 |
| 31 | 0 | 0 |
| 32 | 123.1 | 40.5 |
| 33 | 8.1 | 3.5 |
| 34 | 81 | 29.7 |
| 35 | 8.1 | 3.1 |
| 36 | 0 | 0 |
| 37 | 0 | 0 |
| 38 | 116 | 44.8 |
| 39 | 8 | 3.9 |
| 40 | 108.4 | 29.5 |
| 41 | 22.2 | 6.9 |
| 42 | 0 | 0 |
| 43 | 0 | 0 |
| 44 | 0 | 0 |
| 45 | 0 | 0 |
| 46 | 36.7 | 14.7 |
| 47 | 100 | 24.8 |
| 48 | 20.4 | 3.3 |
| 49 | 20.9 | 0.8 |
| 50 | 106.7 | 28.7 |
| 51 | 0 | 0 |
| 52 | 98.4 | 25.3 |
| 53 | 0 | 0 |
| 54 | 0 | 0 |
| 55 | 0 | 0 |
| 56 | 0 | 0 |
| 57 | 0 | 0 |
| 58 | 0 | 0 |
| 59 | 0 | 0 |
| 60 | 0 | 0 |

Note. The node table reports the active and reactive load data of the practical system.

Table S6. Branch data of the practical 60-bus feeder

| Branch | From node | To node | r (p.u.) | x (p.u.) |
| --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 0.1795 | 0.2745 |
| 2 | 17 | 16 | 0.1795 | 0.264 |
| 3 | 2 | 4 | 0.1835 | 0.267 |
| 4 | 2 | 18 | 0.1825 | 0.2645 |
| 5 | 18 | 19 | 0.1715 | 0.2585 |
| 6 | 19 | 20 | 0.157 | 0.27 |
| 7 | 20 | 21 | 0.1875 | 0.285 |
| 8 | 21 | 16 | 0.162 | 0.26 |
| 9 | 1 | 23 | 0.1825 | 0.2835 |
| 10 | 23 | 33 | 0.193 | 0.272 |
| 11 | 33 | 36 | 0.154 | 0.2715 |
| 12 | 36 | 54 | 0.1985 | 0.259 |
| 13 | 54 | 37 | 0.1515 | 0.2595 |
| 14 | 37 | 55 | 0.192 | 0.281 |
| 15 | 55 | 46 | 0.192 | 0.2635 |
| 16 | 46 | 29 | 0.1525 | 0.278 |
| 17 | 29 | 28 | 0.1775 | 0.297 |
| 18 | 28 | 50 | 0.197 | 0.2855 |
| 19 | 50 | 56 | 0.166 | 0.284 |
| 20 | 56 | 31 | 0.1905 | 0.298 |
| 21 | 31 | 51 | 0.18 | 0.289 |
| 22 | 51 | 57 | 0.1895 | 0.2805 |
| 23 | 57 | 58 | 0.19 | 0.2975 |
| 24 | 58 | 24 | 0.1525 | 0.253 |
| 25 | 52 | 57 | 0.164 | 0.2635 |
| 26 | 58 | 53 | 0.1825 | 0.2995 |
| 27 | 35 | 34 | 0.1745 | 0.2885 |
| 28 | 36 | 35 | 0.1985 | 0.274 |
| 29 | 42 | 59 | 0.1875 | 0.284 |
| 30 | 59 | 44 | 0.1785 | 0.271 |
| 31 | 44 | 40 | 0.165 | 0.269 |
| 32 | 40 | 32 | 0.163 | 0.2605 |
| 33 | 39 | 42 | 0.1945 | 0.269 |
| 34 | 44 | 45 | 0.1725 | 0.2515 |
| 35 | 45 | 43 | 0.191 | 0.2735 |
| 36 | 59 | 41 | 0.155 | 0.2665 |
| 37 | 60 | 49 | 0.193 | 0.299 |
| 38 | 29 | 48 | 0.1515 | 0.278 |
| 39 | 48 | 60 | 0.195 | 0.2925 |
| 40 | 60 | 47 | 0.195 | 0.2705 |
| 41 | 54 | 38 | 0.176 | 0.273 |
| 42 | 38 | 39 | 0.156 | 0.2915 |
| 43 | 39 | 26 | 0.159 | 0.2995 |
| 44 | 26 | 25 | 0.1855 | 0.276 |
| 45 | 55 | 27 | 0.1915 | 0.2965 |
| 46 | 56 | 30 | 0.1515 | 0.287 |
| 47 | 18 | 6 | 0.188 | 0.2785 |
| 48 | 6 | 7 | 0.198 | 0.2985 |
| 49 | 7 | 3 | 0.167 | 0.291 |
| 50 | 3 | 5 | 0.182 | 0.298 |
| 51 | 19 | 14 | 0.167 | 0.2825 |
| 52 | 14 | 13 | 0.161 | 0.269 |
| 53 | 13 | 11 | 0.1895 | 0.274 |
| 54 | 11 | 10 | 0.186 | 0.2955 |
| 55 | 22 | 9 | 0.164 | 0.2505 |
| 56 | 13 | 12 | 0.179 | 0.258 |
| 57 | 20 | 15 | 0.171 | 0.2735 |
| 58 | 7 | 22 | 0.1545 | 0.277 |
| 59 | 22 | 8 | 0.151 | 0.253 |

Note. The branch table reports the feeder topology and line impedances of the practical system.

3. Invited DR Capacities of the Six Data Centers

The following table reports the invited demand-response capacities of the six data centers over the 24 time slots.

Table S7. Invited DR capacities of the six data centers

| Time slot | DC1 invited DR capacity (kW) | DC2 invited DR capacity (kW) | DC3 invited DR capacity (kW) | DC4 invited DR capacity (kW) | DC5 invited DR capacity (kW) | DC6 invited DR capacity (kW) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0 | 0 | 40 | 0 | 0 | 0 |
| 2 | 0 | 0 | 40 | 0 | 0 | 0 |
| 3 | 0 | 0 | 40 | 0 | 0 | 0 |
| 4 | 0 | 0 | 40 | 0 | 0 | 0 |
| 5 | 0 | 0 | 40 | 0 | 0 | 0 |
| 6 | 0 | 0 | 40 | 0 | 0 | 0 |
| 7 | 0 | 0 | 40 | 0 | 0 | 0 |
| 8 | 0 | 0 | 0 | 0 | 0 | 0 |
| 9 | 0 | 0 | 0 | 0 | 0 | 0 |
| 10 | 0 | 0 | 0 | 0 | 0 | 0 |
| 11 | 0 | 0 | 0 | 0 | 0 | 70 |
| 12 | 0 | 0 | 0 | 0 | 0 | 70 |
| 13 | 0 | 0 | 0 | 0 | 0 | 70 |
| 14 | 0 | 0 | 0 | 0 | 40 | 70 |
| 15 | 0 | 0 | 0 | 0 | 40 | 70 |
| 16 | 0 | 0 | 0 | 0 | 40 | 70 |
| 17 | 0 | 0 | 0 | 0 | 40 | 70 |
| 18 | 0 | 0 | 0 | 0 | 40 | 0 |
| 19 | 0 | 80 | 0 | 50 | 0 | 0 |
| 20 | 0 | 80 | 0 | 50 | 0 | 0 |
| 21 | 0 | 80 | 0 | 50 | 0 | 0 |
| 22 | 60 | 0 | 0 | 50 | 0 | 0 |
| 23 | 60 | 0 | 0 | 50 | 0 | 0 |
| 24 | 60 | 0 | 0 | 50 | 0 | 0 |

Note. The values are reported as the period-specific invited DR capacities used in the practical-feeder case.